## Materials
REQUIREMENT OF DENTAL MATERIALS F/Y 2081/2082
SN | Code | Product Name | Description | Quality Certificate | Unit | OMR | OMFS | PROS | PEDO | ORTHO | COMM | PERIO | CONS | Total Req. | Stock | Qnty | Rate | Amount
1 | 21596 | 17% EDTA LIQUID, (MD CLEANER) | NEELKANTH, VISHAL, META OR EQUIVALENT |  | BOTTLE | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 7 | 15 | 0 | 25
2 | 38277 | 4TH GEN BONDING AGENT (PRIMER AND ADHESIVE) | 3M ESPE,IVOCLAR,KERR |  | PKT | [10 empty] | 10
3 | 20634 | ACRYLIC TEETH SET FOR C.D ( FULL SET A1,A2, /M1,M2) | ACRYLIC TEETH SET-NATIONAL DENTAL SUPPLY CO, PYREX, DENRAKRIS OR EQUIVALENT |  | SET | 0 | 0 | 4000 | 0 | 0 | 0 | 0 | 0 | 2500 | 0 | 200
4 | 7588 | ACRYLIC TRIMING BUR | SHOFU, COLTENE, DENTSPLY OR EQUIVALENT |  | PCS | 0 | 0 | 150 | 20 | 24 | 0 | 0 | 0 | 100 | 0 | 50
5 | 37972 | ACRYLIC TRIMMING MACHINE | MAX SPEED,3500PM OR MOR MARATHUN, M3/M4/WALDENT |  | SET | [10 empty] | 1
6 | 11405 | ADDITION SILICONES LIGHT BODY (TUBE) | DENTSPLY,IVOCLAR,ULTRADENT,DMP OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 100 | 0 | 1 | 0 | 10 | 2 | 100 | 0 | 50
7 | 20431 | ADDITION SILICON PUTTY CONSISTENCY | DENTSPLY, 3M ESPE, SHOFU, IVOCLAR, DMP OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 115 | 15 | 1 | 0 | 20 | 10 | 100 | 0 | 50
8 | 11404 | ADDITION SILICONES MEDIUM VISCOSITY | DENTSPLY, SHOFU, 3M ESPE,DMP OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 24 | 0 | 1 | 0 | 0 | 10 | 35 | 0 | 10
9 | 38254 | AH PLUS TUBE EXPORT REFILL | DENTSPLY, ULTRADENT, SYBRON ,METABIOMED OR EQUIVAENT | US-FDA | PKT | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 48 | 80 | 0 | 10
10 | 21602 | ALGINATE DUST FREE | DENTSPLY, SEPTODENT, MARK 3 OR EQUIVALENT | US-FDA | PKT=450 GM | 0 | 0 | 2200 | 120 | 250 | 0 | 36 | 40 | 2600 | 0 | 1000
11 | 20435 | ALU WAX | MDM, Y-DENT, SHOFU OR EQUIVALENT |  | PKT | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 10
12 | 7606 | APPLICATOR TIPS | SDI, ULTRADENT, KERR , SDI OR EQUIVALENT |  | PKT=100 PCS | 0 | 0 | 150 | 20 | 20 | 0 | 2 | 120 | 150 | 0 | 150
13 | 7612 | ARTICULATING PAPER | SAMIT, ULTRADENT, SDI OR EQUIVALENT |  | PKT | 4 | 2 | 700 | 25 | 15 | 10 | 0 | 200 | 600 | 0 | 500
14 | 20439 | AUTOMATRX BAND LARGE & MEDIUM FOR MOLARS & PRE-MOLARS (10*2) | DENTSPLY,ULTRADENT,GARISONOR |  | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 20 | 0 | 20
15 | 12571 | B.P. HANDLE ROUND NO.3 | TAURUS GDC, SS MEDIDENT |  | PCS | 0 | 0 | 50 | 25 | 0 | 0 | 5 | 5 | 100 | 0 | 50
16 | 10336 | BALL BURNISHER | LIBRAL TRADERS ,MTDENT OR EQUIVALENT |  | PCS | 0 | 0 | 20 | 20 | 0 | 0 | 0 | 20 | 40 | 0 | 20
17 | 7617 | BAND MATERIALS | LIBRAL TRADERS ,MTDENT OR EQUIVALENT |  | PKT | 0 | 0 | 40 | 30 | 0 | 0 | 0 | 0 | 100 | 0 | 50
18 | 25151 | BAND SEATER | GDC,API,MTDENT, MEDSEY |  | PC | 0 | 0 | 0 | 12 | 4 | 0 | 0 | 0 | 20 | 0 | 5
19 | 16259 | BASE PASTE SHADE A1,A2 | DENTSPLY, VITA, IVOCLAR ,CERAMCO 3 OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 20
20 | 23122 | BIOCERAMIC SEALER | METABIOMED,3M,IVOCLAR | US-FDA | SYR. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 5 | 0 | 30
21 | 25195 | BIOSTAR SHEET SOFT 1.5 MM | BIO-ART |  | SHEET | [10 empty] | 30
22 | 37785 | BIOPSY TRAY | GOOD QUALITY |  | PCS | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 5
23 | 21458 | BITE REGISTRATION DISPENCER . TIP | DENTSPLY, KETTENBACH, DETAX ,DMP OR EQUIVALENT |  | PCS | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 25 | 10 | 10
24 | 21697 | BITE BLOCK | HANNEKRAFT, GARRISON ,COTISEN OR EQUIVALENT | US-FDA | PCS | 0 | 13 | 0 | 20 | 2 | 0 | 0 | 0 | 20 | 0 | 60
25 | 20442 | BITE REGISTRATION MATEREAL | DENTSPLY, IVOCLAR, ULTRADENT DMP OR EQUIVALENT |  | PKT | 0 | 0 | 25 | 20 | 0 | 0 | 0 | 0 | 25 | 0 | 4
26 | 12901 | BONDABLE 022 SLOT MBT 2ND MOLAR TUBE U/L NON CONVERTIBLE . | ORTHOCLASSIC,CAPTAIN,ADITEK,MT DENT | US-FDA | PCS | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 500 | 0 | 500
27 | 12903 | BONDABLE 022 SLOT MBT FIRST MOLAR TUBE U/L CONVERTIBLE | CAPTAIN, AZDENT, ORTHOCLASSIC,ADITEK,MT DENT | US-FDA | PCS | 0 | 0 | 0 | 10 | 500 | 0 | 0 | 0 | 510 | 0 | 600
28 | 7624 | BONDABLE 022 SLOT MBT FIRST MOLAR TUBE U/L NON CONVERTIBLE | ADITEK,MT DENT'CAPTAIN,ORTHOCLASSIC | US-FDA | PCS | 0 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 1500
29 | 7625 | BONDING AGENT | 3M,IVOCLAR,DENSPLY,ULTRADENT OR EQUIVALENT | US-FDA | BOTTLE | 0 | 0 | 200 | 30 | 0 | 0 | 24 | 120 | 200 | 0 | 200
30 | 20444 | BONE CUTTING BURS ( ROUND)NO.6,8 | ORTHOMAX,WILSON AND WILSON,D PERFECT |  | PCS | 0 | 150 | 150 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 250
31 | 36892 | BRACKET MBT ( 0.022 ) | ORMCO,LEONE,TP ORTHODONTICS |  | PKT | 0 | 0 | 0 | 0 | 240 | 0 | 0 | 0 | 250 | 0 | 300
32 | 9322 | BROACHES (15-40) SAFETI | MANI/ DENTSPLY/ ULTRADENT/ SYBORN OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 0 | 240 | 0 | 0 | 0 | 0 | 240 | 0 | 240
33 | 8156 | BUTANE GAS | HIGH GEAR, MAXSUN OR EQUIVALENT | US-FDA | BOTT | 0 | 0 | 0 | 15 | 12 | 0 | 0 | 4 | 80 | 0 | 15
34 | 21607 | C++FILE (ASSORTED 21MM) | DENTSPLY, VDW, SYBRON ,D-PERFECT OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 2 | 80
35 | 21706 | CALCIUM HYDROXIDE PASTE | ULTRADENT,VOCCO ,PRIMEDENTAL ,DENTSPLY,VOCCO | US-FDA | NOS | 0 | 0 | 0 | 10 | 0 | 0 | 5 | 120 | 135 | 0 | 100
36 | 7633 | CAUSTINEF | SEPTODENT/ VOCCO/ VDW OR EQUIVALENT | US-FDA | BOTTLE | [10 empty] | 2
37 | 21610 | CAPSULATED GIC LIGHT CURING | GC, 3M, KERR OR EQUIVALENT | US-FDA | BOX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 6 | 0 | 25
38 | 17559 | CARBIDE BUR 245 | SS WHITE, MESSINGER,D-PERFECT OR EQUIVALENT | US-FDA | PCS | 0 | 50 | 120 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 150
39 | 23204 | CARISOL CHEMOMECHANICAL CARIES REMOVAL | MEDITEAM OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 5 | 0 | 5
40 | 18888 | CARTRIDGE SYRINGE SHORT | SEPTODENT, HU-FRIDY, 3M ESPE OR EQUIVALENT |  | PCS | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 20 | 20 | 0 | 20
41 | 38420 | CARE 3 MANTANANCE OIL | NSK |  | 1/LITRS | [10 empty] | 20
42 | 7632 | CARVING WAX | SUMIT ,PYROXY OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 15 | 20 | 0 | 20
43 | 10338 | CEMENT CARRIER | GDC,TAURUS ACEDENTAL OR EQUIVALENT |  | PCS | 0 | 0 | 130 | 50 | 0 | 0 | 0 | 40 | 100 | 0 | 50
44 | 36897 | CERAMIC FINISHING BUR | DENTSPLY,IVOCLAR,3M,UMG |  | PCS | 0 | 0 | 120 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 150
45 | 9712 | CHECK -RETRACTOR (ADULT) | HANENKRAFT, HAGER, SDI OR EQUIVALENT |  | PCS | 0 | 20 | 30 | 0 | 10 | 0 | 10 | 2 | 50 | 0 | 100
46 | 9532 | CHLORE HEXIDINE | ICPA, ULTRADENT,PREVEST OR EQUIVALENT |  | LTRS | 14 | 0 | 250 | 35 | 0 | 0 | 12 | 20 | 250 | 0 | 100
47 | 7641 | COE PACK | GC, KERR, SDI OR EQUIVALENT | US-FDA | PKT | 0 | 1 | 12 | 2 | 0 | 0 | 20 | 1 | 30 | 0 | 12
48 | 7643 | COLD CURE LIQUID | SAMIT, DPI, DENTSPLY OR EQUIVALENT |  | LTRS | 0 | 0 | 250 | 20 | 15 | 0 | 4 | 0 | 180 | 0 | 200
49 | 10364 | COLD CURE POWDER (PINK) | SAMIT, DPI, DENTSPLY ,DENTAKRIS,OR EQUIVALENT |  | KG | 0 | 0 | 250 | 20 | 15 | 0 | 3 | 0 | 260 | 0 | 260
50 | 7647 | COLD MOLD SEAL | SAMIT, PRIME DPI,DENTAKRIS OR EQUIVALENT |  | LTR | 0 | 0 | 200 | 10 | 10 | 0 | 3 | 0 | 150 | 0 | 120
51 | 16448 | COMPOSITE FINISHING DISC | DENTSPLY, KENDA ,SHOFU OR EQUIVALENT | US-FDA | SET | 0 | 0 | 15 | 0 | 5 | 0 | 0 | 0 | 20 | 0 | 5
52 | 14744 | COMPOSITE FINISHING BUR FOR AIRROTOR | MANI, DENTSPLY ,SHOFU OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 184 | 0 | 24 | 0 | 0 | 100 | 250 | 0 | 100
53 | 38424 | COMPOSITE ANTERIOR : SHADE DENTIN A1, A2, A3,A3.5,B1,B2 | IVOCLAR,DENTSPLY,ULTRADENT,OR EQUIVALENT | US-FDA | SYR | [10 empty] | 350
54 | 38425 | COMPOSITE POSTERIOR : BULKFIL UNIVERSAL | IVOCLAR,DENTSPLY,ULTRADENT,OR EQUIVALENT | US-FDA | SYR | 0 | 0 | 220 | 10 | 0 | 5 | 10 | 200 | 250 | 0 | 100
55 | 21687 | COMPOSITE PLACEMENT INSTRUMENT | HU-FRIEDY, ASH KERR, ULTRADENT, DENTSPLY OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 10
56 | 20612 | COPPER NITI WIRE (0.012) U/L | RMO, ORMCO,DENTAURUM,MTDENT,ADITEK COTISEN | US-FDA | PKT | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 40
57 | 20457 | COPPER NITI WIRE (0.014) U/L | RMO, ORMCO,DENTAURUM, MTDENT.ADITEK | US-FDA | PKT | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 50
58 | 20458 | COPPER NITI WIRE (0.016) U/L | RMO, ORMCO,DENTAURUM, MTDENT, ADITEK | US-FDA | PKT | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 50
59 | 20459 | COPPER NITI WIRE (0.017 X 0.025) U/L | RMO,ORMCO,DENTAURUM,MTDENT,ADITEK | US-FDA | PKT | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 20 | 0 | 20
60 | 23205 | COPPER NITI WIRE( 0.016 X 0.022) U/L | RMO,ORMCO,DENTAURUM ,MTDENT,ADITEC | US-FDA | PKT | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 40 | 0 | 60
61 | 7656 | DENTAL FLOSS | ICPA, ULTRADENT, VISHAL OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 200 | 40 | 24 | 0 | 12 | 60 | 200 | 0 | 250
62 | 7658 | DENTAL PLASTER | KALABHAI, DENTSPLY,GYPROCK | US-FDA | KG | 0 | 0 | 2000 | 200 | 200 | 0 | 0 | 50 | 2200 | 0 | 1500
63 | 7660 | DENTAL STONE | KALABHAI, DENTSPLY,GYPROCK | US-FDA | KG | 0 | 0 | 2000 | 250 | 300 | 0 | 25 | 25 | 1600 | 0 | 1500
64 | 20460 | DENTAL UNIT WATER CLEANING TABS BOX OF 50 | ICX, BLUTAB, CITRISIL OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 20 | 0 | 20
65 | 20461 | DENTIN A1 SHADE | VITA,SHOFU,DENTSPLY OR EQUIVALENT | US-FDA | BOTTLE | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 10
66 | 20462 | DENTIN A2 SHADE | VITA,SHOFU,DENTSPLY OR EQUIVALENT | US-FDA | BOTTLE | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 8
67 | 20463 | DENTIN A3 SHADE | VITA, SHOFU,DENTSPLY OR EQUIVALENT | US-FDA | BOTTLE | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 2
68 | 7662 | DIAMOND COATED PROXIMAL STRIPS (1=10) | SOFU,DENTSPLY,ULTRADENT OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 0 | 10
69 | 7663 | DIE STONE | KALABHAI, GEM STONE, NEEL OR EQUIVALENT | US-FDA | KG | 0 | 0 | 240 | 0 | 0 | 0 | 25 | 15 | 250 | 0 | 150
70 | 9545 | DIRECT LENGUAL BONDED RETAINER | LEON OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 5
71 | 9543 | DISCLOSING SOLUTION AGENT | 2 TONE SOLUTION (YOUNG DENTAL)TEPE OR EQUIVALENT |  | BOTTLE | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 6 | 15 | 0 | 50
72 | 21613 | DISPENSER FOR CAPSULATED GIC | PD SWISS, GCOR EQUIVALENT | US-FDA | PCS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 6
73 | 23267 | DISPOSABLE BIOPSY PUNCH ,8MM | GOOD QUALITY INDIAN |  | KIT | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 8
74 | 18389 | DISPOSABLE BIOPSY PUNCH, 6MM | GOOD QUALITY INDIAN |  | KIT | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 20
75 | 20466 | DRY SOCKET PASTE ( ALVEOGYL ) | SEPTODENT OR EQUIVALENT |  | PCS | 0 | 3 | 0 | 2 | 0 | 0 | 0 | 0 | 5 | 0 | 5
76 | 7668 | DYCAL | DENTSPLY, ULTRADENT, KERR OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 25 | 50 | 0 | 50
77 | 38278 | DYCAL CARRIER | GDC,API, |  | PCS | [10 empty] | 50
78 | 10274 | E MODULES ATTACHED TO RINGS | OMRCO, RABBIT FORCE,3M | US-FDA | PKT | 0 | 0 | 0 | 0 | 150 |  | 0 | 0 | 150 | 0 | 150
79 | 7670 | E-CHAIN , SHORT,MEDUM,LARGE | 3M,OMRCO, | US-FDA | PKT | 0 | 0 | 0 | 1 | 80 | 0 | 0 | 0 | 100 | 0 | 60
80 | 21615 | EDTA PASTE-7GM PER PACK | META, MEDICEPT, DIADENT, PRIMEDENTAL OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 120 | 150 | 0 | 100
81 | 10276 | ELASTIC GRAY /ORTHO ELASTIC | LEONE, ORMCO, 3M, OR EQUIVALENT |  | PKT/100PCS | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 120 | 0 | 50
82 | 20470 | ENDO REFRIGERANT SPRAY | VDW, PETTERION, HYGIENIC OR EQUIVALENT | US-FDA | BOTTLE | 4 | 0 | 0 | 16 | 0 | 0 | 4 | 5 | 80 | 0 | 50
83 | 23157 | ENDO BUR | MANI JAPAN, SHOFU, MIDWEST TYPE OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 3 | 60 | 0 | 0 | 0 | 60 | 100 | 0 | 20
84 | 38427 | ETHYLCHLORIDE SPRAY | ULTRAENT ,IVOCLAR | US-FDA | PH | [10 empty] | 3
85 | 7677 | ETCHING AGENT /ETCHING GELL | DENTSPLY,ULTRADENT ,IVOCLAR ONELY |  | SYR | 0 | 0 | 80 | 50 | 60 | 4 | 0 | 120 | 250 | 0 | 500
86 | 7679 | EUGENOL LIQUID | SAMIT, DPI,DENTAKRIS OR EQUIVALENT |  | BOTTLE | 0 | 2 | 48 | 20 | 0 | 0 | 0 | 30 | 80 | 0 | 80
87 | 10278 | EXPANSION SCREW 5,6,7,8 | LEON OR EQUIVALENT |  | PCS | 0 | 0 | 0 | 20 | 60 | 0 | 0 | 0 | 50 | 0 | 60
88 | 19356 | FIBER POST | PD SWISS, COLTENE, DENTSPLY OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 180 | 0 | 0 | 0 | 0 | 120 | 250 | 0 | 400
89 | 21618 | FILM HOLDER MULTIPLE CLIPS 6 ROW | GDC, SS MEDIDENT, API,COTISEN OR EQUIVALENT |  | PC | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5
90 | 7682 | FIXON POWDER | ICPA OR EQUIVALENT | US-FDA | PKT/15G | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 50 | 100 | 0 | 70
91 | 14767 | FLOWABLE COMPOSITE A1 AND A2 | 3M,DENSPLY,BIOMED | US-FDA | SYR | 0 | 0 | 0 | 6 | 12 | 0 | 0 | 10 | 100 | 0 | 130
92 | 38426 | FORSUS FATIQUE RESISTANCE DEVICE |  |  | PCS | [10 empty] | 20
93 | 7683 | FLUORIDE GEL, APF | SEPTODENT,ULTRADENT,PASCAL OR IOS CERTIFIDE | US-FDA | BOOTLE | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 50 | 0 | 50
94 | 7684 | FLUORIDE VARNISH | IVOCLAR, COLGATE ,ULTRADENT OR EQUIVALENT |  | BOTTLE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 20 | 0 | 10
95 | 20525 | FRONT SURFACE SIZE :MIRROR TOP | HAHNENKRAFRT,HU-FRIEDY,ZIRC OR EQUIVALENT |  | PCS | [10 empty] | 50
96 | 7692 | GATE GLIDDEN DRILL | MANI, IOTA, DENTSPLY ,D-PERFECT OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 0 | 40
97 | 38362 | GIC CAPSUL APPLIERS | DENTS,PLY,MANI,IVOCLAR | US-FDA | PCS | [10 empty] | 4
98 | 9531 | GIC LIQUD (UNIVARSAL 8 GM PACK ) | GIC,MANI,FUJI,DENTSPLY OR EQUIVALENT | US-FDA | BOTTLE | 0 | 0 | 155 | 50 | 10 | 0 | 0 | 40 | 200 | 0 | 200
99 | 19347 | GIC MIXING PAD | GC, SDI,FUJI,SHOFU OR EQUIVALENT | US-FDA | SHEET | 0 | 0 | 240 | 150 | 15 | 0 | 0 | 30 | 200 | 0 | 100
100 | 10352 | GIC MIXING SPATULA | SS MEDIDENT, GDC, API,COTISEN OR EQUIVALENT |  | PCS | 0 | 0 | 100 | 50 | 12 | 0 | 0 | 5 | 100 | 25 | 50
101 | 7696 | GIC-I (GIC - LUTING) | GC, 3M ESPE, SHOFU ,ULTRADENT OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 150 | 15 | 0 | 0 | 2 | 5 | 120 | 0 | 100
102 | 7697 | GIC-II | GC, 3M, UILTRADENT , SHOFU,DENTSPLYOR EQUIVALENT | US-FDA | PKT | 0 | 0 | 100 | 100 | 0 | 0 | 2 | 60 | 250 | 0 | 150
103 | 7698 | GIC-IX | 3M, GC, DENTSPLY,FUJI, OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 50 | 50 | 0 | 30 | 1 | 0 | 100 | 0 | 40
104 | 23094 | GIC-V | GC,FUJI,3M ,SDI, DENTPLY | US-FDA | PACK | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 10 | 0 | 5
105 | 16442 | GIC-VII | GC, 3M, ULTRADENT,SHOFU, OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 200 | 0 | 0 | 5 | 5 | 150 | 0 | 120
106 | 10286 | GINGIBAL RETRACTION CORD (SIZE OO,OOO ) | PARKELL, GC, SHOFU ,CERAMED OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 50 | 1 | 0 | 0 | 0 | 10 | 30 | 0 | 100
107 | 7702 | GLASS SLAB | SMATI, DPI, GDC,AC-DENTAL OR EQUIVALENT |  | Pcs | 0 | 0 | 20 | 0 | 2 | 0 | 0 | 20 | 10 | 0 | 10
108 | 10289 | GP POINT ( 20,25,30,35) | DIADENT,SYBORN,DPERFECT OR EQUIVALENT | US-FDA | PKT | 10 | 0 | 0 | 40 | 0 | 0 | 0 | 240 | 300 | 0 | 350
109 | 7705 | GP SOLVENT | SEPTODENT, VOCCO, VDW ,DENTAKIS OR EQUIVALENT |  | PH. | 0 | 0 | 5 | 2 | 0 | 0 | 0 | 24 | 100 | 0 | 60
110 | 7709 | GREEN STICK COUMPND | DPI, PINNACLE, PYREX OR EQUIVALENT |  | PKT | 0 | 0 | 800 | 0 | 0 | 0 | 0 | 0 | 800 | 0 | 300
111 | 7719 | HEAT CURE LIQUID | DANTAKRIS, SMILE DENTAL, DENTSPLY OR EQUIVALENT |  | LTR | 0 | 0 | 200 | 0 | 5 | 0 | 0 | 0 | 150 | 0 | 120
112 | 7720 | HEAT CURE POWDER (PINK) | PYREX, SMILE DENTAL, HUGE DENTAL/ DENTSPLY ,DENTAKRIS OR EQUIVALENT |  | KG | 0 | 0 | 200 | 0 | 6 | 0 | 0 | 0 | 200 | 0 | 150
113 | 7724 | HEAVY ELASTICS 3/8"14 OZ | LEONE, ORMCO, 3M, MT DENT,OR EQUIVALENT |  | PKT | 0 | 2 | 0 | 0 | 15 | 0 | 0 | 0 | 25 | 0 | 15
114 | 20509 | HEAVY ELASTICS 5/8"14 OZ | LEONE, ORMCO, 3M ,MT DENT OR EQUIVALENT |  | PKT | 0 | 2 | 0 | 0 | 15 | 0 | 0 | 0 | 25 | 0 | 15
115 | 38423 | HEAMOSTATIC GELL | INDIAN OR GOOD QUALITY |  | TUBE | [10 empty] | 20
116 | 20510 | HYDROFLUORIC ACID FOR ETCHING ALL CERAMICS | IVOCLAR,VITA, ULTRADENT,CERKAMED, OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 10 | 20 | 0 | 20
117 | 37975 | HYDROSOLDER UNIT FOR ORTHODONTICS | HYDRON,HYDROSOLDER ,DENTEX,YB |  | NOS | [10 empty] | 1
118 | 38378 | HYFLEX REREATMENT FILE (ROTERY) | IVOCLAR,DENTSPLY,ULTRADENT,OR EQUIVALENT |  | PKT | [10 empty] | 50
119 | 38299 | HYFLEX EDM ASSORTED | COLTENE,HU-FRIDAY |  | PCS. | [10 empty] | 100
120 | 11067 | HYREX SCREW N0.5,6,7, | LEONE,MT DENT OR EQUIVALENT |  | PC | 0 | 0 | 0 | 10 | 25 | 0 | 0 | 0 | 100 | 0 | 100
121 | 7727 | IMPRESSION COMPOUND | KERR ADAPTOL (GC AMERICA) DENTAKRIS OR EQUIVALENT | US-FDA | Pkt/200g | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 600 | 0 | 300
122 | 10409 | IMPRESSION TRAY | GDC, SS MEDIDENT, API ,ACE DENTAL OR QUIVALENT |  | PCS | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 500 | 0 | 500
123 | 21622 | IMPRESSION TRAY PERFORATED | GDC, API, SS MEDIDENT ,ACE DENTAL OR EQUIVALENT |  | PCS | 0 | 0 | 500 | 0 | 100 | 0 | 8 | 0 | 500 | 0 | 500
124 | 7705 | INLAY WAX | BEGO ,WHIP MX |  | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 30 | 0 | 30
125 | 7733 | INTRA ORAL PHOTOGRAPHY MIRROR | HAHNENKRAFT, HAGER, SDI OR EQUIVALENT | US-FDA | 3=1 SET | 2 | 0 | 10 | 0 | 12 | 1 | 5 | 6 | 36 | 0 | 10
126 | 20613 | INTRA ORAL PHOTOGRAPHY MIRROR (FOR PEDODONTICS) | CROSS PROTECTION, SINGAPORE/ SELECT OR EQUIVALENT | US-FDA | 3=1 SET | 2 | 2 | 0 | 10 | 0 | 1 | 0 | 0 | 15 | 0 | 10
127 | 19131 | INVESTMENT LIQUID-BEGO | BEGO, ONELY |  | BOTTL/1 LITR | 0 | 0 | 120 | 0 | 0 | 0 | 0 | 0 | 120 | 0 | 12
128 | 36896 | INVESTMENT POWDER - BEGO | BEGO , ONLY, |  | PKT | 0 | 0 | 800 | 0 | 0 | 0 | 0 | 0 | 800 | 0 | 300
129 | 7736 | IOPA X-RAY FILM [PEDO] | KODAK, FUJI ,OR EQUIVALENT | US-FDA | PKT/100 PCS | 80 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 80 | 0 | 50
130 | 7737 | IOPA X-RAY FILM[ADULT] | KODKA, FUJI , OR EQUIVALENT | US-FDA | PKT/150 PCS | 240 | 0 | 0 | 5 | 0 | 0 | 15 | 60 | 320 | 0 | 300
131 | 21693 | IVORY NO.1 RETAINER | GDC, HAHENKRAFT,AESCULUP ,ACE DENTAL OR EQUIVALENT |  | PCS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 15 | 0 | 10
132 | 10442 | K FILE 25 MM (15 TO 45) | DENTSPLY, VDW, SYBORN, ULTRADENT,DPERFECT OR EQUIVALENT |  | PKT | [10 empty] | 200
133 | 13564 | KODAK DRY VIEW FILM (8X10) | FUJI,KODAK OR EQUIVALENT |  | PKT | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 80
134 | 20519 | K FILE 21 MM (6,8,10,15,20,25,30,) | DENTSPLY, VDW, SYBORN, ULTRADENT,DPERFECT OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 250 | 0 | 0 | 0 | 50 | 400 | 0 | 1200
135 | 20520 | L.A 2 % WITH ADRN 1:200,000 | NEON, ASTRA-ZENECA, NICOLAS OR EQUIVALENT | US-FDA | BOTTLE | 60 | 1800 | 300 | 200 | 2 | 50 | 170 | 300 | 2800 | 0 | 2800
136 | 20614 | LIGNOCAINE CARTRIDGE 2% LIGNOCAINE WITH 100,000 ADRENALINE (LIGNOSPAN 1:8ML CARTRIDGE | SEPTODONT, DENTSPLY, 3M ESPE OR EQUIVALENT | US-FDA | BOX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 0 | 10
137 | 10300 | LIGNOCAINE SPRAY/L-A SPRAY | ICPA, ASTRA-ZENACA, NICOLOS OR EQUIVALENT |  | BOTTLE | 6 | 6 | 30 | 30 | 1 | 0 | 5 | 7 | 100 | 0 | 100
138 | 9554 | LINGUAL BOTTONS BONDABLE | DENTOS, ORMCO, 3M ,MTDENT .ADITEK OR EQUIVALENT |  | PCS | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 100 | 0 | 100
139 | 37742 | LM DISC THICK | GOOD QUALITY |  | PCS | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 400 | 0 | 100
140 | 19837 | LM DISC THIN | GOOD QUALITY |  | PCS | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 1200 | 0 | 1000
141 | 20522 | LONG NEEDLE FOR CARTIDGE SYRINGE | SEPTODONT,DENTSPLY, 3M ESPE OR EQUIVALENT |  | BOX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 6 | 0 | 6
142 | 37686 | MATRIX BAND NO.1 | SEPTODONT,DENTSPLY, 3M ESPE OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 150 | 80 | 0 | 50
143 | 7758 | MATRIX BAND NO.8 | SEPTODONT,DENTSPLY, 3M ESPE OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 10 | 10 | 0 | 0 | 0 | 50 | 300 | 0 | 400
144 | 21627 | MAX I PROBE IRRIGATING NEEDLES (PACK OF 40) | DENTSPLY, ULTRADENT, SYBRON OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 0 | 5
145 | 7761 | METALIC SCALE | INDIAN OR EQUIVALENT |  | PCS | 30 | 0 | 10 | 30 | 5 | 0 | 0 | 50 | 20 | 0 | 50
146 | 7762 | METAPEX | META BIOMED OR EQUIVALENT |  | SYR | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 20 | 80 | 0 | 50
147 | 36894 | MINI IMPLANT ANCHORAGE KIT | VECTOR,AS,RABBIT FORCE |  | KIT | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 2
148 | 36891 | MINI IMPLANT SREUS ALL SIZE | VECTOR,AS,RABBIT FORCE, MTDENT OR ADITEK |  | PCS | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 150 | 0 | 150
149 | 7767 | MIRACLE MIX | GC,SDI, OR EQUIVALENT |  | BOTTL | 0 | 0 | 8 | 6 | 0 | 0 | 0 | 2 | 10 | 0 | 10
150 | 7770 | MIRROR TOPS | GDC, HAHNENKRAFRT,HU-FRIEDY ,ACE DENTAL OR EQUIVALENT |  | PCS | 150 | 150 | 2000 | 250 | 100 | 0 | 0 | 100 | 2000 | 0 | 1500
151 | 7773 | MODELLING WAX | DENTSPLY, PYREX, INVESTO OR EQUIVALENT |  | PKT | 0 | 0 | 1500 | 120 | 20 | 0 | 2 | 0 | 1200 | 0 | 800
152 | 9530 | MOLAR TUBES WITH BANDS | 3M,IOS ORTHO, FORESTADENT,MTDENT OR ADITEK | US-FDA | pCS | 0 | 0 | 0 | 0 | 600 | 0 | 0 | 0 | 600 | 0 | 600
153 | 21691 | MULTILINK SYSTEM RESIN CEMENT(FULL TUBE ) | IVOCOLAR | US-FDA | PKT | [10 empty] | 20
154 | 10363 | MOUTH MIRROR HANDLE | GDC, HAHNENKRAFT, SS MEDIDENT OR EQUIVALENT |  | PCS | 0 | 0 | 1500 | 100 | 100 | 100 | 0 | 150 | 1500 | 0 | 1000
155 | 11410 | MTA | PD SWISS,METABIOMED |  | PKT | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 10 | 10 | 0 | 30
156 | 36732 | NITI WIRE ROUND (0.18)UL | ORAMCO, G&H, AO,3M,MTDENT, ADITEK OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0 | 100
157 | 20529 | NITI WIRE ROUND (0.14) U/L | ORAMCO, G&H, AO,3M,MTDENT, ADITEK OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 100 | 0 | 80
158 | 16304 | NITI WIRE ROUND (0.16) U/L | ORAMCO, G&H, AO,3M,MTDENT, ADITEK OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0 | 80
159 | 7782 | OCCLUSAL X-RAY FILM | KODAK, FUJI ,OR EQUIVALENT |  | PKT/25 PCS | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 15
160 | 10306 | OIL SPRAY FOR HAND PIECES | NSK, SIRONA, KAVO OR EQUIVALENT |  | BOTTL | 2 | 2 | 6 | 12 | 2 | 0 | 6 | 6 | 50 | 0 | 48
161 | 20531 | OPAQUE PASTE SHADE A1,A2 | DENTSPLY OR EQUEVALENT |  | SYR | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 20
162 | 10309 | ORTHO WIRE (18G,19G,20G,21G,23G) | AS WILCOCK, AUSTRALIAN WIRE OR EQUIVALENT |  | K.G | 0 | 0 | 0 | 10 | 25 | 0 | 0 | 0 | 40 | 0 | 50
163 | 20633 | ORTHODONTIC ADHESIVE KIT | IVOCLAR, 3M,ORMCO ,ADITEK OR EQUIVALENT | US-FDA | KIT | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 80 | 0 | 80
164 | 37978 | ORTHODONTIC MINI IMPLANT KIT | VECTOR,TAB,RABBIT FORCE ,DENTOS |  | NOS | [10 empty] | 2
165 | 9051 | PAPER POINT 20,25,30,35,40, | META, DIADENT, DENSPLY OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 400 | 400 | 0 | 1000
166 | 7796 | PIT AND FISSURE SEALENT | DENTSPLY, IVOCLAR, ULTRDENT ,PREVEST OR EQUIVALENT | US-FDA | SYR | 0 | 0 | 0 | 120 | 0 | 2 | 0 | 20 | 140 | 0 | 130
167 | 20537 | PLASTIC COATED ABRASIVE STRIPS FOR COMPOSITE | GC, SHOFU, HAHNENKRAFT, PD SWISS OR EQUIVALENT |  | PCS | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 30 | 35 | 0 | 20
168 | 36895 | PLASTIC DIGITAL X-RAY SENSOR PROTECTOR | SAMIT , DPI,PRIME ,OR EQUIVALENT |  | PKT | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 8
169 | 7805 | POLISHING PASTE (PROPOL) | DVC BRILLIANCE, HATHOBEIGO,GLAZE OR EQUIVALENT |  | PKT | 4 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 60 | 0 | 40
170 | 7807 | POLY CARBOXYLATE CEMENT (POLY-F) | DENTSPLY, ULTRADENT, 3M ESPE OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25 | 0 | 10
171 | 14758 | PREFORMED PRIMARY/PERMANENT MOLAR BANDS | MO USA, MTDENT OR ISO |  | PCS | 0 | 0 | 0 | 250 | 0 | 0 | 0 | 0 | 250 | 0 | 300
172 | 36506 | PROTAPER GOLD 21 AND 25MM (ROTARY PROTAPER GOLD) | PROTAPER GOLD,DENTSPLY | US-FDA | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 300 | 0 | 350
173 | 20545 | PROVISIONAL RESTORATION MATERIALS (RESIN) | PROTEMP 4, LUXATEMP, ULTRADENT ,DMP OR EQUIVALENT | US-FDA | KIT | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 10 | 25 | 0 | 10
174 | 10185 | PROXA -BRUSH | TRISHA/ IPCA/ COLGATE OR EQUIVALENT |  | PCS | [8 empty] | 50 | 0 | 10
175 | 36846 | PULP DEVITALIZER | SEPTODONT,DENTAKRIS OR EQUIVALENT | US-FDA | BOTTLE | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 10 | 15 | 0 | 15
176 | 7819 | PUMICE POWDER | SAMIT, NEELKANTH, RITHINIUM OR EQUIVALENT |  | PKT | 0 | 0 | 80 | 60 | 0 | 0 | 0 | 0 | 120 | 0 | 100
177 | 7825 | RIBBOND FIBER (2MM+3MM) | RIBBOND PRODUCTS OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 12 | 50 | 0 | 60
178 | 38279 | RINN XCP- ORA | DENTSPLY SIRONA |  | PCS | [10 empty] | 30
179 | 36529 | ROTRACTION CORD TUCKER SIZE OOO/OO | ULTRADENT |  | PKT | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 30
180 | 8145 | ROUND BUR | MANI, DENTSPLY OR EQUIVALENT | US-FDA | PCS | 0 | 50 | 150 | 100 | 0 | 0 | 0 | 100 | 400 | 0 | 400
181 | 9658 | RUBBER DAM KIT | COLTENE, HU-FRIDAY | US-FDA | KIT | [10 empty] | 4
182 | 7828 | RUBBER DAM SHEET | COLTENE, CONFIDENT, NEELKANTH, OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 35 | 60 | 0 | 100
183 | 16451 | RUBBER MOULD FORMER FOR PERMANENT TEETH | INDIAN |  | PCS | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 5 | 0 | 10
184 | 7832 | SAND PAPER MANDRIL | MESSINGER, DFS ,SAMIT OR EQUIVALENT |  | PCS | 0 | 0 | 50 | 10 | 5 | 0 | 2 | 0 | 67 | 0 | 50
185 | 10484 | SAND PAPER, ALL SIZE (180,320) | DRY ABRASIVE PAPER, KAI OR EQUIVALENT |  | PCS | 0 | 0 | 200 | 50 | 50 | 0 | 5 | 0 | 305 | 0 | 320
186 | 38429 | SECTIOAL MATRICES SIZE 4.5,5.5,7.5 | DENTSPLY SIRONA | US-FDA | PKT | [10 empty] | 30
187 | 38430 | SECTIOAL MATRICES NARROW AND WILDE RING | DENTSPLY SIRONA | US-FDA | PCS. | [10 empty] | 10
188 | 38431 | SECTIOAL MATRICES FORCEPS | DENTSPLY SIRONA | US-FDA | PCS. | [10 empty] | 5
189 | 38432 | SECTIOAL MATRICES PIN TWEEZER | DENTSPLY SIRONA | US-FDA | PCS. | [10 empty] | 5
190 | 38433 | SECTIOAL MATRICES WDGES | DENTSPLY SIRONA | US-FDA | PKT | [10 empty] | 30
191 | 23211 | SECTIONAL TRAY SIZE 1,2,3 AND U/L ARCH | GDC,API,SS MEDIDENT, ACE DENTAL |  | PCS | 0 | 0 | 20 | 50 | 0 | 0 | 0 | 10 | 80 | 0 | 20
192 | 25538 | SELF ETCH ADHESIVES | DENTSPLY,IVOCLAR,3M,DMP.ADITEK,MT DENT |  | PKT | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 15 | 15 | 0 | 10
193 | 15041 | SEPRATING MOUDLE | API, GDC, SS MEDIDENT OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 50 | 0 | 25
194 | 20553 | SILANE COUPLINE AGENT | 3M,DENTSPLY,IVOCLAR OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 6 | 8 | 0 | 50
195 | 23212 | SILVER DIAMINE FLUORIDE | GOOD QAUALITY | US-FDA | PCS | 0 | 0 | 0 | 3 | 0 | 2 | 0 | 0 | 5 | 0 | 5
196 | 9577 | SILVER SOLDER | ISO CERTIFIEDE | US-FDA | PKT | 0 | 0 | 0 | 60 | 10 | 0 | 0 | 0 | 70 | 0 | 70
197 | 20554 | SMART BUR SIZE, 4,6,8 | IVOCLAR, ASH, DENTSPLY, OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 10 | 50 | 0 | 50
198 | 9526 | SOFT LINER | DENTSPLY OR EQUIVALENT |  | PKT | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 10
199 | 9546 | SOLDERING FLUX | ULTRAFLUX OR EQUIVALENT |  | BTL | 0 | 0 | 0 | 24 | 10 | 0 | 0 | 0 | 50 | 0 | 50
200 | 37977 | SONDBLASTER UNIT | MICROETCHER ,BIO ART, HERNY SCHIN ,DENTOS, |  | NOS | [10 empty] | 1
201 | 20555 | SPORE CHECK ( PACK OF 25 ) | HU-FRIEDY, ASH OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 10
202 | 17349 | SS ARCH WIRE (.017" X .025") U/L | LEONE, ORMCO, 3M ,MT DENT OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 2 | 60 | 0 | 0 | 0 | 62 | 0 | 80
203 | 26030 | SS ARCH WIRE 0.018 U/L | LEONE, ORMCO, 3M ,MT DENT OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 150
204 | 14828 | SS CROWN : 85 ( PRIMARY MOLAR U/L,U/R)SIZE, E4,E5,E6 | HU FRIEDY OR ISO CERTIFIED | US-FDA | PCS | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 200 | 0 | 200
205 | 14830 | SS CROWN (PERMANENT MOLAR U/L,U/R,L/L,L/R) | HU FRIEDY OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 100 | 0 | 100
206 | 20297 | SS CROWN, 75 : 85 [E5, E6 R/L) | 3M HUFRIDAY | US-FDA | pcs | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 200 | 0 | 200
207 | 21203 | STAINLESS STEEL ARCH WIRE (0.016 X 0.022) U/L | AO,ORMCO, 3M ,MT DENT OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0 | 80
208 | 21646 | START X ULTRASONIC TIP (SATELEC BASED PACK OF 6) | DENTSPLY, HU-FRIEDY, SIRONA OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 2
209 | 25519 | STERILIZING POUCH TAPE WITH COLOR INDICATOR 1" WIDE | 3M ,DEFEND PRIMO,ORO |  | Roll | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 6 | 5 | 0 | 100
210 | 7846 | STICKY WAX | LEON, KERR, KOREKTA ,DETA KRIS OR EQUIVALENT |  | PKT | 0 | 0 | 50 | 0 | 0 | 0 | 12 | 0 | 65 | 0 | 50
211 | 7847 | STONE BUR | MANI, MESSINGER, DFS OR EQUIVALENT | US-FDA | PCS | 0 | 0 | 120 | 120 | 20 | 0 | 2 | 0 | 100 | 0 | 200
212 | 7849 | STRAIGHT FISSURE BUR FOR CAVITY | BRASSLER, MESSINGER, SS WHITE ,OR EQUIVALENT |  | PCS | 0 | 0 | 100 | 30 | 0 | 0 | 0 | 0 | 100 | 0 | 50
213 | 37792 | STRONTIUM | GOOD QUALITY |  | PCS | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 2
214 | 7835 | SUCTION TIPS (PLANE ROUND) | GDC, CONFIDENT, ASA DENTAL OR EQUIVALENT | US-FDA | PCS | 0 | 100 | 5000 | 15000 | 1500 | 100 | 20000 | 15000 | 73000 | 0 | 75000
215 | 10326 | SURGICAL BUR ROUND (ALL SIZE)NO.18,19 | SS WHITE, MANI, IOTA OR EQUIVALENT | US-FDA | PCS | 0 | 300 | 60 | 0 | 0 | 0 | 0 | 0 | 350 | 0 | 400
216 | 20559 | TEMP. CROWN CEMENT (NON EUGENOL TEMPORARY ) | ULTRADENT, IVOCLAR, DENTSPLY,LASCOD OR EQUIVALENT |  | PKT | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 10 | 60 | 0 | 60
217 | 38283 | TERAUCHI KIT | WOODPECKER |  | KIT | [10 empty] | 5
218 | 7858 | TMA WIRE (17 X 55 ) | LEONE, ORMCO, 3M ,MTDENT ,ADITA OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 2
219 | 21452 | TOOTH COLORED COLD CURE ACRYLIC | SAMIT, DPI, PP,DENTAKRIS OR EQUIVALENT |  | PH | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 50
220 | 7859 | TRACING PAPER | RF, ORMCO, G & H OR EQUIVALENT | US-FDA | PKT | 0 | 0 | 0 | 5 | 24 | 0 | 0 | 0 | 25 | 0 | 25
221 | 7860 | TRAY ADESHIVE MATERIALS | DENTSPLY, IVOCLAR, ULTRADENT , OR EQUIVALENT |  | BOTTLE | 0 | 0 | 40 | 2 | 0 | 0 | 0 | 5 | 50 | 0 | 10
222 | 20573 | VASELINE | INDIAN OR EQUIVALENT |  | KG | 0 | 0 | 12 | 10 | 2 | 0 | 0 | 10 | 35 | 0 | 5
223 | 26285 | VERNIER CALLIPER DIGITAL | ORTHOMAX,WILSON AND WILSON |  | PCS | 2 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 20 | 0 | 15
224 | 25506 | HAEMOSTATIC GEL | INDIAN OR GOOD QUALITY |  | TUBE | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 20
225 | 7870 | WOODEN WEDGES | PD SWISS, ULTRADENT, IOTA COTISEN OR EQUIVALENT |  | PKT | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 130 | 150 | 0 | 200
226 | 38371 | XYLOCAIN 2% GELL | LOX,XYLOCAIN OR EQUIVALENT |  | TUBE | [10 empty] | 100
227 | 38421 | XYLOCAIN 10% GELL | LOX,XYLOCAIN OR EQUIVALENT |  | TUBE | [10 empty] | 20
228 | 38370 | XYLOCAIN 5% GELL/ LOX 5% GELL | LOX,XYLOCAIN OR EQUIVALENT |  | TUBE | [10 empty] | 50
229 | 8144 | ZINC OXIDE POWDER | SAMIT, SDI, DENTSPLY ,DENTAKRIS OR EQUIVALENT |  | PKT | 0 | 2 | 80 | 30 | 10 | 0 | 0 | 60 | 180 | 0 | 180
230 | 10330 | ZNO-IMPRESSION PASTE | GC AMERICA , DPI ,DENTAKRIS OR EQUIVALENT |  | PKT | 0 | 0 | 600 | 0 | 0 | 0 | 0 | 0 | 600 | 0 | 300