## Sheet1
B.P. KOIRALA INSTITUTE OF HEALTH SCIENCES
Requirement of HOSPITAL MATERIAL FY: 2081-2082
S No. | Product Name & Description | Unit | Qty. | Rate | Amount
1 | 04754:ADHESIVE TAPE ( SIZE 9 MTR X 10 CM) [BSN, INDIA OR EQUIVALENT] | ROLL | 4000
2 | 04758:AUTOCLAVE TAPE (STEAM INDICATOR TAPE) 1" WIDE [3 M COMPLY OR EQUIVALENT] | ROLL | 500
3 | 24141:BP CUFF NEONATE [Heine/Microlife/Rossmax/Nihon Kohden or Equivalent] | NO | 5
4 | 24140:BP CUFF PAEDIATRIC [HEINE/MICROLIFE/ROSSMAX/NIHON KOHDEN OR EQUIVALENT] | NO | 5
5 | 04759:B.P. INSTRUMENT ANEROID TYPE [HEINE/MICROLIFE/ROSSMAX OR EQUIVALENT] | NOS | 400
6 | 19699:B.P. INSTRUMENT ANORIDE (NEONATE SIZE) [HEINE/MICROLIFE/ROSSMAX OR EQUIVALENT] | PC | 5
7 | 19698:B.P. INSTRUMENT ANORIDE (PEDIATRIC SIZE) [HEINE/MICROLIFE/ROSSMAX OR EQUIVALENT] | PC | 10
8 | 10741:B.P. INSTRUMENT( DIGITAL) [HEINE/MICROLIFE/ ROSSMAX , ISO, ISI , FDA CERTIFIED OR EQUIVALENT] | PCS | 10
9 | 20974:BATTERY 1.55V FOR DIGITAL THERMOMETER [GOOD QUALITY] | PCS | 50
10 | 04693:BED PAN PLASTIC [GOOD QUALITY] | PCS | 50
11 | 04765:BUTTERFLY NIDDLE 19 G [ROMSONS OR EQUIVALENT] | NOS | 100
12 | 07519:CHEMICAL FOR AUTO PROCESSOR DEVELOPER REPLENISHER, WITHOUT DIUTION (1 JAR = 6 LITRE) [RAHUL PHOTOGRAPHY COMPANY PVT. LTD, INDIA OR EQUIVALENT] | JAR | 15
13 | 07520:CHEMICAL FOR AUTO PROCESSOR FIXER REPLENISHER, WITHOUT DILUTION ( 1 JAR= 6 LITRE) [RAHUL PHOTOGRAPHY COMPANY PVT. LTD, INDIA OR EQUIVALENT] | JAR | 15
14 | 04770:DETTOL SOLUTION 500 ML [RECKITT BENCKISER, INDIA OR EQUIVALENT] | BOTTLE | 250
15 | 08711:DIGITAL THERMOMETER [PHILIPS AVENTES/LLOYDS OR EQUIVALENT] | PCS | 500
16 | 19603:DISINFECTANT SOLUTION FOR FUMIMGATION [GOOD QUALITY] | LITRE | 25
17 | 10193:DISPOSABLE CAP [GOOD QUALITY] | PCS | 50000
18 | 04772:DISPOSABLE ECG ELECTRODES (45x42x1mm) [GOOD QUALITY] | NOS | 1500
19 | 10190:DISPOSABLE FACE MASK [GOOD QUALITY] | PCS | 150000
20 | 17358:DISPOSABLE NEEDLE NO. 26 G, HALF INCHES [GOOD QUALITY] | NOS | 500
21 | 04774:DISPOSABLE SYRINGE 1 CC ( WITH 29G NEEDLE) [DISPOVAN-INDIA/ LIFELINE-NEPAL OR EQUIVALENT] | NOS | 5000
22 | 04776:DISPOSABLE SYRINGE WITH NEEDLE 10 ML [DISPOVAN-INDIA/LIFELINE-NEPAL OR EQUIVALENT] | NOS | 10000
23 | 23287:DISPOSABLE SYRINGE WITH NEEDLE 2M/3ML [DISPOVAN/LIFELINE/SAFEWAY OR EQUIVALENT] | NOS | 25000
24 | 04778:DISPOSABLE SYRINGE WITH NEEDLE 20 ML [DISPOVAN/LIFELINE/SAFEWAY OR EQUIVALENT] | NOS | 5000
25 | 04779:DISPOSABLE SYRINGE WITH NEEDLE 5 ML [DISPOVAN/LIFELINE/SAFEWAY] | NOS | 10000
26 | 04780:DISPOSABLE SYRINGE WITH NEEDLE 50 ML [DISPOVAN/LIFELINE/SAFEWAY OR EQUIVALENT] | NOS | 50
27 | 04781:ECG JELLY 250 ML [HAYLIDE CHEMICALS PVT. LTD, INDIA OR EQUIVALENT] | TUBE | 2500
28 | 07920:ECG RECORDING PAPER FQW 110-2-140 [SONOMED/NIHON KOHDEN OR EQUIVALENT] | PKT | 3000
29 | 23723:ET TUBE 6.5 FR [ROMSONS OR EQUIVALENT] | NOS | 100
30 | 23694:ET TUBE 7.0 FR [ROMSONS OR EQUIVALENT] | NOS | 200
31 | 23695:ET TUBE 7.5 FR [ROMSONS OR EQUIVALENT] | NOS | 100
32 | 23699:ET TUBE 8.0 FR [ROMSONS OR EQUIVALENT] | NOS | 200
33 | 23696:ET TUBE 3.0 FR [ROMSONS OR EQUIVALENT] | NOS | 50
34 | 36543:ET TUBE 3.5 FR [ROMSONS OR EQUIVALENT] | PCS | 50
35 | 36544:ET TUBE 4 FR [ROMSONS OR EQUIVALENT] | PCS | 50
36 | 36546:ET TUBE 5.5 FR [ROMSONS OR EQUIVALENT] | PCS | 50
37 | 04786:FLUORESCEIN STRIP (PKT OF 100) [AKRITI OCCULOPLASTY OR EQUIVLANET ( SHOULD BE STRELE)] | PKT | 200
38 | 04789:GLOVES POWDER 400 GM [GOOD QUALITY] | PKT | 1000
39 | 04792:GLUTARALDEHYDE SOLUTION 2% , 5 LIT ( CIDEX ) [RAMANE WELL PVT. LTD OR EQUIVALENT] | JAR | 2000
40 | 10627:HALOGEN BULB 24V,50W ( CHOCALATE TYPE) [OSRAM OR EQUIVALENT] | PCS. | 50
41 | 05256:HALOGEN TUBE FOR PHOTHERAPY UNIT 18W/71 (OSRAM) [OSRAM OR EQUIVALENT] | PCS | 5
42 | 19459:HAND SANITIZER 500ML [GOOD QUALITY] | NOS | 2000
43 | 04794:HOT WATER BAG [ISO CERTIFIED, INDIAN MADE] | NOS | 100
44 | 08381:IRIS SPATULA WOODENE [GOOD QUALITY] | NOS | 8000
45 | 14315:IV CANNULA NO. 22 [ROMSONS OR EQUIVALENT] | NOS | 100
46 | 05338:KEY FOR OXYGEN CYLINDER [GOOD QUALITY] | NOS | 5
47 | 03819:LARYNGOCOPE BULB [GOOD QUALITY] | NOS | 100
48 | 14299:LARYNGOSCOPE WITH 3 BLADE (PAEDIATRIC) [HILLBRO - PAKISTAN/ GERMANY MAKE OR EQUIVALENT] | NOS | 15
49 | 14298:LARYNGOSCOPE WITH 4 BLADE (ADULT) [HILLBRO - PAKISTAN/ GERMANY MAKE OR EQUIVALENT] | NOS | 25
50 | 04802:LUBRICATING JELLY (K.Y.JELLY), 50GM [NEON LABORATORIES, INDIA OR EQUIVALENT] | TUBE | 4000
51 | 04804:MACANTOSH (RUBBER SHEET) [SHREE INDIA OR EQUIVALENT] | MTR | 1500
52 | 14300:METHALATED SPIRITS, 5 LITRE JAR [GOOD QUALITY] | JAR | 2000
53 | 06658:MICROTOME BLADE 50 PCS/PKT (35 DEGREE/80MM) [MADE IN JAPAN OR EQUIVALENT] | PKT | 200
54 | 04809:NON ABSORABLE SURGICAL SUTURE (BLACK BRAIDED SILK) NON STERILE, NO.1, 1/0.2, 2/0, 3, 3/0 ( 25 MTRS / ROLL ) [JOHNSON & JOHNSON INDIA OR EQUIVALENT] | ROLL | 200
55 | 24148:OXYGEN FACE MASK (PAEDIATRIC) [ROMSONS OR EQUIVALENT] | PCS | 200
56 | 24147:OXYGEN FACE MASK (ADULT) [ROMSONS OR EQUIVALENT] | PCS | 250
57 | 04812:OXYGEN ROTAMETER WITH FLOWMETER ( O2 REGULATOR ) [EXPORT QUALITY, ISO CERTIFIED, INDIA MADE OR EQUIVALENT] | SET | 700
58 | 04813:PAEDIATRIC IV SET (VOLUMENTARY SET ) [ROMSONS OR EQUIVALENT] | NOS | 125
59 | 12502:PFT DISPOSEABLE FILTER( SCHILLER) [GOOD QUALITY] | PC. | 100
60 | 04817:PLASTIC TISSUE EMBEDDING MOLD [YORCO PRODUCT, GOOD QUALITY OR EQUIVALENT] | NOS | 30000
61 | 07899:POVIDINE IODINE SCRUB (BETADINE) 500 ML [WIN-MEDICARE PVT. LTD, INDIA OR EQUIVALENT] | BOTTLE | 2500
62 | 07900:POVIDINE IODINE SOLUTION (BETADINE) 500 ML [WIN-MEDICARE PVT. LTD, INDIA OR EQUIVALENT] | BOTTLE | 5000
63 | 08053:RECORDING PAPER, 110MM X 20 MTR. (FOR NST/ AVG MACHINE) [SONOMED/NIHON KOHDEN OR EQUIVALENT] | ROLL | 20
64 | 14301:RECTIFIED SPIRIT, 5 LITRE JAR [IN WHITE TRANSPARENT PLASTIC GALLON, GOOD QUALITY] | JAR | 50
65 | 08080:RUBBERBAND DC OT. [GOOD QUALITY] | PCS | 500
66 | 04826:SODA LIME WITH INDICATOR (FOR ABSORBING CARBONDIAOXIDE) 5 KG [AKROSORB EXPORT QUALITY OR EQUIVALENT, INDIAN MADE] | JAR | 200
67 | 04828:STETHESCOPE ( ADULT SIZE ) [DOCTOR-JAPAN OR EQUIVALENT] | NOS | 200
68 | 14323:SURGICAL BLADE, 100 PCS/PKT, (NO. 10) [SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT] | PKT | 100
69 | 14324:SURGICAL BLADE, 100 PCS/PKT, (NO. 11) [SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT] | PKT | 100
70 | 14325:SURGICAL BLADE, 100 PCS/PKT, (NO. 12) [SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT] | PKT | 50
71 | 14326:SURGICAL BLADE, 100 PCS/PKT, (NO. 15) [SURGEON, KEHR SURGICALS PVT. LTD, INDIA OR EQUIVALENT] | PCS | 150
72 | 14327:SURGICAL BLADE, 100 PCS/PKT, (NO. 20) [SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT] | PKT | 150
73 | 14329:SURGICAL BLADE, 100 PCS/PKT, (NO. 22) [SURGEON, KEHR SURGICALS PVT. LTD. INDIA OR EQUIVALENT] | PKT | 150
74 | 07536:THERMAL PAPER FOR USG [110 MM X20 MTR SONY JAPAN OR EQUIVALENT] | ROLL | 3500
75 | 04836:TONGUE DEPRESSURE WOODEN [GOOD QUALITY] | NOS | 28000
76 | 07537:ULTRA SOUND JELLEY ( 5 litre / Jar) [HAYLIDE INDIA OR EQUIVALENT] | JAR | 100
77 | 04841:URO BAG (URINE BAG) [ROMSONS OR EQUIVALENT(GOOD QUALITY)] | NOS | 50
78 | 04842:VASLINE WHITE( 1 KG ) [GOOD QUALITY] | PH | 100
79 | 04843:WEIGHT MACHINE ( ADULT SIZE ) [LARS OR EQUIVALENT] | NOS | 50
80 | 04846:YANKUR SUCTION HANDLE WITH TUBE (PVC) [ROMSONS OR EQUIVALENT] | NOS | 200
81 | 08082:ACCUCHECK/OMNI TEST BATTERY - CR2032 [MAXCELL JAPAN OR EQUIVALENT, ISI CERTIFIED] | PCS | 200
82 | 04755:AMBU BAG/ SILICONE RESUSCITATOR-MULTIPLE USE,ADULT, MADE OF SILICON [AMBU/RUSCH OR EQUIVALENT] | NOS | 200
83 | 04756:AMBU BAG/ SILICONE RESUSCITATOR-MULTIPLE USE,PAEDIATRIC, MADE OF SILICON [AMBU/RUSCH OR EQUIVALENT] | NOS | 50
84 | 12293:AMBU BAG/ SILICONE RESUSCITATOR-MULTIPLE USE,NEONAT, MADE OF SILICON [AMBU/RUSCH OR EQUIVALENT] | PC. | 10
85 | 21592:ECG RECORDING PAPER (80MM X 20 MITER) [SONOMED/NIHON KOHDEN OR EQUIVALENT] | PC | 5
86 | 20763:ETO PAPER (75MM X 200M. [LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED] | ROLL | 5
87 | 20764:ETO PAPER 100MM X 200M. [LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED] | ROLL | 2
88 | 23444:ETO PAPER 150 MMX200 M [LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED] | ROLL | 2
89 | 20862:ETO PAPER 200MM X 200M [LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED] | ROLL | 2
90 | 19279:ETO PAPER ROLL (50MM X 200MM) [LIBERAL/ 4 A MEDICAL/SUDENED OR GOOD QUALITY, ISI CERTIFIED] | ROLL | 3
91 | 14308:FOLEY'S CATHETER, SIZE 16 [ROMSONS OR EQUIVALENT] | NOS | 50
92 | 14309:FOLEY'S CATHETER, SIZE 18 [Romsons or Equivalent] | NOS | 35
93 | 14313:IV CANNULA NO. 18 [ROMSONS OR EQUIVALENT] | NOS | 100
94 | 14314:IV CANNULA NO. 20 [ROMSONS OR EQUIVALENT] | NOS | 200
95 | 14297:LARYNGOSCOPE BLADE (SIZE 4) [HILLBRO - PAKISTAN/ GERMANY MAKE OR EQUIVALENT] | PC | 20
96 | 19701:LED X-RAY VIEW BOX (DOUBLE FILM) [GOOD QUALITY, ISI Certified] | SET | 5
97 | 19832:LED X-RAY VIEW BOX (SINGLE) [GOOD QUALITY, ISI CERTIFIED] | SET | 15
98 | 04808:NEBULISER KIT (CHAMBER WITH MASK & 2 MTR TUBING) [ROMSONS JUNIORS INDIA OR EQUIVALENT] | SET | 25
99 | 04829:STETHESCOPE ( PAEDIATRIC SIZE ) [DOCTOR.JAPAN OR EQUIVALENT] | PCS | 10
100 | 10012:SUTUR CUTTING NEEDLE (SIZE 0,1,2,3,4) [INDIAN MADE GOOD QUALITY] | PKT. | 50
101 | 04844:WEIGHT MACHINE ( PAED. SIZE ) [LARS OR EQUIVALENT, ISI CERTIFIED] | NOS | 10
102 | 04752:3 WAY CANNULA [ROMSONS OR EQUIVALENT] | NOS | 25
103 | 14315:IV CANNULA NO. 22 [ROMSONS OR EQUIVALENT] | NOS | 100
104 | 04797:IV CANNULA NO. 24 [ROMSONS OR EQUIVALENT] | NOS | 100
105 | 13040:NASAL AIRWAYS [Romsons or Equivalent] | PC | 50
106 | 04824:RYLES (N/G) TUBE NO. 6 - 16 [ROMSONS OR EQUIVALENT] | NOS | 50
107 | 04830:SUCTION CATHETER (SIZE 6-18 ) [ROMSONS OR EQUIVALENT] | NOS | 100
108 | 08054:RECORDING PAPER, FQW 210-10-295 (210 MM X295 MM X 250 SHEETS, Z FOLD) [SONOMED/NIHON KOHDEN OR EQUIVALENT] | PACKET | 200
109 | 25687:ECG PAPER FOR BIOLITE [FOR BIOLITE ECG MACHINE] | PAD | 200
110 | 36446:ECG PAPER FOR E65 ECG MACHINE [FOR E65 ECG MACHINE] | PKT | 5
111 | 36447:ECG PAPER FOR E70 ECG MACHINE [FOR E70 ECG MACHINE] | ROLL | 5
112 | 24801:ECG PAPER FOR MIDRAY R12 (SIZE 210MMX295MMX150 SHEETS (ZFOLD) [FOR MINDRAY R12 ECG MACHINE] | PAD | 500
113 | 37147:B.M.A.NEEDLE NO.20 [] | PCS | 50
114 | 23806:SS DRUM LARGE [LARGE SIZE(15"X12") GOOD QUALITY] | NOS | 5
115 | 23637:SS DRUM MEDIUM SIZE [AUTOCLAVABLE PAKISTANI / GOOD QUALITY] | NOS | 100
116 | 23805:SS DRUM SMALL [GOOD QUALITY] | PCS | 100
117 | 13136:DIGITAL TIMER [GOOD QUALITY] | PC | 10
118 | 12092:CHEATAL FORCEP WITH JAR [USFDA APPROVED/EUROPEAN CE APPROVED/GOOD QUALITY] | PC | 100
119 | 24544:PULSE OXYMETER FINGER TIP [GOOD QUALITY] | PCS | 5
120 | 08873:B.M.A.NEEDLE NO.16 [GOOD QUALITY] | PCS | 50
121 | 10249:GALLIPOT 100ML [CE APPROVED] | PCS | 200
122 | 16481:GALLIPOT 200ML [CE APPROVED] | PC | 200
123 | 13429:KIDNEY TRAY ( S.S.) SIZE 12' [CE APPROVED] | PC. | 200
124 | 16578:KIDNEY TRAY STAINLESS STEEL 8" [USFDA APPROVED/EUROPEAN CE APPROVED] | PC | 200
125 | 25240:ARTERY FORCEP (STRAIGHT) [USFDA APPROVED/EUROPEAN CE APPROVED] | PCS | 300
126 | 14236:THUMB FORCEP TOOTH [CE APPROVED] | PC | 100